Fall, 2004							          David Clark/Gary Wenter

COURSE INFORMATION

COURSE TITLE	MAG 21 – Power Equipment Air Conditioning

CATALOG		Technical information and development of repair and maintenance DESCRIPTION	competencies in modern power equipment air conditioning systems.

Units of instruction will include the operation and application of air brakes is included in this course.  Refrigerant recycling and ozone layer protection procedures are emphasized.

UNITS & HOURS	2 Units				2 hours lecture and 2 hours lab per week

T, Th	1:00 – 1:50 	Lecture

T, Th	2:00 – 2:50 	Lab

TEXTBOOK		Caterpillar three-ring binder + materials

REQUIRED ITEMS	Approved eye protection/safety glasses (Z87.1 A.N.S.I.)

Approved footwear

Two work shirts (approximately $40)

Reedley College Equipment Technician shirt @ Best Uniforms

5091 N. Fresno Street   Fresno, CA 93702   Phone:  266-4235

ASSIGNMENTS	The class is designed to develop equipment technician skills to service

& GRADES	and repair Caterpillar air conditioning systems.  Laboratory skills (i.e., diesel engine disassembly, measurement, re-assembly, operation) will constitute approximately one-half of the student’s grade.  The remaining one-half of the grade will be determined by organizing lecture notes, handouts, and assignments; 4 major unit tests; and the final exam.

Point Distribution:   90% = A, 80% = B, 70% = C, 60% = D, Less = F

Lecture:	Homework			150

Test –  4 @ 50 pts./each		200

Notebook			  50

Final Exam			100

- Lec. Total

Lab:		Participation – 16 @ 10/each	160

(Timeliness, clean-up, work ethic)

Leadership			  40

Assignments			300	Lab Total

1000	Total

Power Equipment Air Conditioning will constitute one-third of MAG 21 grade

FINAL EXAM		Tuesday, December 14, 2004 – 8:00 a.m.

GRADE POLICY	On separate sheet

WORK ETHIC	On separate sheet

OFFICE HOURS	Monday – Thursday	3:00 – 4:00 p.m.          Ag Shop Office (AGM 5)

David Clark	638-0317  or  638-3641, ext. 3317

Gary Wenter	638-3641, ext. 3719

COURSE OUTLINE

Basics of Air Conditioning

- Basic principles of refrigeration

- States of matter

- Heat and matter

- Heat movement

- Pressure and heat

- Refrigerant

- Basic refrigeration cycle

Refrigerants and Oil

- Refrigerants – R 12 and R 134 A

- Pressure and temperature relationships

- Handling refrigerants

- Safety

- Moisture in systems

- Refrigeration oils

Basic Air Conditioning System Theory

- Compressor

- Condenser

- Expansion valve

- Evaporator

- Receiver – drier (dehydrator)

- Thermostat and magnetic clutch

- Bypass system

- Suction throttling regulators

- Links and connection

Service Equipment

- Gauge and manifold set

- Charge station

- Refrigerant recovery – recycling station

- Leak detector

- Service valves

- Volt-ohm-amp meter

Inspection and Diagnosing the System

- Visual inspection

- Operating inspection

- Troubleshooting customer complaints

- Diagnostic flow charts

Testing and Adjusting the System

- Installing gauges to check system

- Adding refrigerant

- Volumetric test of compressor

- Adding oil to compressor

- Bench testing expansion valves

CLARK/POWEQUIPAC.MAG21